## Schedule
Rate=G | [6 empty] | Page 165
<NewDataSet>· <xs:schema id="NewDataSet" xmlns="" xmlns:xs="http://www.w3.org/2001/XMLSchema" xmlns:msdata="urn:schemas-microsoft-com:xml-msdata">· <xs:element name="NewDataSet" msdata:IsDataSet="true" msdata:MainDataTable="SummaryItems" msdata:UseCurrentLocale="true">· <xs:complexType>· <xs:choice minOccurs="0" maxOccurs="unbounded">· <xs:element name="SummaryItems">· <xs:complexType>· <xs:sequence>· <xs:element name="ContractNo" type="xs:short" minOccurs="0" />· <xs:element name="ScheduleNo" type="xs:short" minOccurs="0" />· <xs:element name="SortNo" type="xs:short" minOccurs="0" />· <xs:element name="Item" type="xs:string" minOccurs="0" />· <xs:element name="SubTotalText" type="xs:string" minOccurs="0" />· <xs:element name="Description" type="xs:string" minOccurs="0" />· <xs:element name="CalcType" type="xs:string" minOccurs="0" />· <xs:element name="CalcValue" type="xs:double" minOccurs="0" />· <xs:element name="UseFirstSubTotal" type="xs:boolean" minOccurs="0" />· <xs:element name="ExclFromWorks" type="xs:boolean" minOccurs="0" />· <xs:element name="ExclFromProjected" type="xs:boolean" minOccurs="0" />· </xs:sequence>· </xs:complexType>· </xs:element>· </xs:choice>· </xs:complexType>· </xs:element>· </xs:schema>·</NewDataSet> | Tender No DRPW 015/2023
KIMBERLEY NURSING COLLEGE PHASE 2A - ACADEMIC CAMPUS
Schedule of Quantities
BILL 1: PRELIMINARY AND GENERAL
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
3540 |  |  | BILL NO 1: PRELIMINARY AND GENERAL
3639 |  |  | GENERAL CONDITIONS OF CONTRACT
3641 |  |  | Where applicable costs shall be tendered for Fixed, Variable Related and Time Related items.
3642 |  |  | Payment shall be calculated as follows:
3643 |  |  | Fixed: According to % construction progress
3644 |  |  | Variable Related: According to % payment progress based on the approved amended contract amount.
3645 |  |  | Time Related: According to % approved contract period elapsed
3646 | 1.1 |  | a) Fixed Amount | Sum | 1 | 0 | 0
3647 | 1.2 |  | b) Variable Related Amount | Sum | 1 | 0 | 0
3648 | 1.3 |  | c) Time Related Amount | Sum | 1 | 0 | 0
3649 |  |  | SPECIAL CONDITIONS OF CONTRACT
3650 |  |  | The electrical sub-contractor shall allow in his tender for all costs according to items specified under Special Conditons of Contract in this tender document.
3651 |  |  | Payment for these items shall be calculated as % of the Contract Amount, excluding Preliminary & General costs, certified. (Refer to Part 18 of the Special Conditions of Contract)
3652 | 1.4 |  | Part 1: General Items | Sum |  | 0 | 0
3653 | 1.5 |  | Part 4: Manufacturing Drawings | Sum | 1 | 0 | 0
3654 | 1.6 |  | Part 5 & 6: Contractor's personnel and Quality Control, 3-phase installation electrician full-time supervision and Site Facilities | Sum | 1 | 0 | 0
3655 | 1.7 |  | Part 7: Water and Electric Power | Sum | 1 | 0 | 0
3656 | 1.8 |  | Part 8: Offices | Sum | 1 | 0 | 0
3657 | 1.9 |  | Part 9: Storage and Accomodation | Sum | 1 | 0 | 0
3658 | 1.10 |  | Part 10: Temporary Sanitary Facilities | Sum | 1 | 0 | 0
| Total Carried Forward | [5 empty] | 0
6207 Ph2A
Page 166
Tender No DRPW 015/2023
KIMBERLEY NURSING COLLEGE PHASE 2A - ACADEMIC CAMPUS
Schedule of Quantities
BILL 1: PRELIMINARY AND GENERAL
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [5 empty] | 0
3659 | 1.11 |  | Part 11 & 12: Transport and off loading of Material | Sum | 1 | 0 | 0
3660 |  |  | Part 14: Protection of Existing Services
3661 |  |  | Part 15: Programming of the work
3662 | 1.12 |  | Part 21: Finishing and Tidying | Sum | 1 | 0 | 0
3663 | 1.13 |  | Part 22: Practical Completion | Sum | 1 | 0 | 0
3664 | 1.14 |  | Part 24: Guarantee Period | Sum | 1 | 0 | 0
3665 | 1.15 |  | Part 26: Marking of Materials | Sum | 1 | 0 | 0
3666 | 1.16 |  | Part 27: Allowance for the completion of the contract in it's entity | Sum | 1 | 0 | 0
3667 | 1.17 |  | Part 29: Site Conditions | Sum | 1 | 0 | 0
3668 | 1.18 |  | Part 30: Laws and Regulations | Sum | 1 | 0 | 0
3669 | 1.19 |  | Part 33: Inspection and Tests | Sum | 1 | 0 | 0
3670 | 1.20 |  | Part 36: Insurance of the Works | Sum | 1 | 0 | 0
3671 | 1.21 |  | Part 37: Complying with Construction Regulations | Sum | 1 | 0 | 0
| Total Carried Forward To Summary | [5 empty] | 0
6207 Ph2A
Page 167
Tender No DRPW 015/2023
KIMBERLEY NURSING COLLEGE PHASE 2A - ACADEMIC CAMPUS
Schedule of Quantities
BILL 2: MEDIUM VOLTAGE RETICULATION
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
1085 |  |  | BILL 2: MEDIUM VOLTAGE RETICULATION
1091 |  |  | MINIATURE SUBSTATIONS
985 |  |  | Supply, delivery, off-loading storage and installation of new miniature substations complete with Ring Main Unit, including concrete plinth and earth mat as per specification.
986 | 2.1 |  | a) Setting out of mini-sub positions | No | 2 | 0 | 0
987 | 2.2 |  | b) Mini-Substation Earthing Installation, including excavations and compaction | No | 2 | 0 | 0
988 | 2.3 |  | c) Mini-Substation Plinth Installation | No | 2 | 0 | 0
989 | 2.4 |  | d) 150A TP, 400V, 25kA circuit breaker for existing mini-sub on site | No | 2 | 0 | 0
990 | 2.5 |  | e) 200A TP, 400V, 25kA circuit breaker for existing mini-sub on site | No | 2 | 0 | 0
991 | 2.6 |  | f) 250A TP, 400V, 25kA circuit breaker for existing mini-sub on site | No | 2 | 0 | 0
992 | 2.7 |  | g) 300A TP, 400V, 25kA circuit breaker for existing mini-sub on site | No | 6 | 0 | 0
993 | 2.8 |  | d) Supply, delivery to site, temporary storage, re-loading and positioning of a 630kVA 11kV/400V, DYN11 mini-substation, complete as specified, required by this section of the works, complete with oil, cable termination boxes, switchgear and metering equipment as specified. Shop drawings to be submitted for approval prior to ordering. This price must allow for LV circuit breakers as specified on SLD. | No | 2 | 0 | 0
3594 | 2.9 |  | e) Labeling & warning signs miniature substations (equipment and circuits) | No | 8 | 0 | 0
3595 |  |  | MEDIUM VOLTAGE CABLES
3596 |  |  | Supply, install medium voltage (6.35/11kV) insulated cable and material required:
3597 | 2.10 |  | a) 150 mm² x 3C XLPE copper cable (Supplied by client. Allow for collection and cranage in Kimberley and pressure testing at the stoarge site) | m | 600 | 0 | 0
3598 | 2.11 |  | b) 150 mm² x 3C XLPE copper cable | m | 1000 | 0 | 0
| Total Carried Forward | [5 empty] | 0
6207 Ph2A
Page 168
Tender No DRPW 015/2023
KIMBERLEY NURSING COLLEGE PHASE 2A - ACADEMIC CAMPUS
Schedule of Quantities
BILL 2: MEDIUM VOLTAGE RETICULATION
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [5 empty] | 0
3599 | 2.12 |  | c) Provision and Installation of Cable Marker Concrete blocks and grid references | No | 15 | 0 | 0
3601 |  |  | EARTH WIRE
2583 |  |  | Stranded bare copper eart wires laid with cables in cable trenches and drawn into cable sleeves
2584 | 2.13 |  | BCEW: 95 mm² Laid with 150 mm² cables | m | 1600 | 0 | 0
2585 |  |  | INDOOR CABLE TERMINATIONS
3602 |  |  | Termination and joints of MV cables
3603 | 2.14 |  | a) Terminations for 11 kV 150 mm² Cu XLPE and screened and armoured cable | No | 7 | 0 | 0
3604 | 2.15 |  | b) Joint for 11 kV 150 mm² Cu XLPE and screened and armoured cable | No | 3 | 0 | 0
3605 |  |  | EXCAVATIONS
1004 |  |  | Excavations as specified including backfilling and compaction. Cable Trenches shall be measured as max 600 mm wide x 1100 mm deep unless otherwise specified.
1015 | 2.16 |  | a) Earth | m³ | 267 | 0 | 0
1019 | 2.17 |  | b) Soft Rock | m³ | 89 | 0 | 0
1020 | 2.18 |  | c) Hard Rock | m³ | 535 | 0 | 0
1021 | 2.19 |  | d) Tarred or paved road surface including repair to match existing | m³ | 50 | 0 | 0
1022 | 2.20 |  | e) Imported bedding | m³ | 388 | 0 | 0
1023 | 2.21 |  | f) Cart away and legally dispose of excess excavation material, level and make neat trenched areas | m³ | 17 | 0 | 0
1024 | 2.22 |  | g) Danger Tape | m | 1600 | 0 | 0
1025 |  |  | CABLE SLEEVES
1027 |  |  | Double wall corrugated complete with all couplings, fittings, bends, galvanised draw wire and accessories installed in cable trenches
2587 | 2.23 |  | a) 160 mm Ø HDPe | m | 250 | 0 | 0
3606 | 2.24 |  | b) 110 mm Ø HDPe | m | 250 | 0 | 0
| Total Carried Forward | [5 empty] | 0
6207 Ph2A
Page 169
Tender No DRPW 015/2023
KIMBERLEY NURSING COLLEGE PHASE 2A - ACADEMIC CAMPUS
Schedule of Quantities
BILL 2: MEDIUM VOLTAGE RETICULATION
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [5 empty] | 0
2588 | 2.25 |  | c) 75 mm Ø HDPe | m | 250 | 0 | 0
2589 |  |  | SF6 RING MAIN UNIT
2590 |  |  | Supply, delivery, off-loading storage and installation of new SF6 RMU (ring-main unit) complete with concrete plinth and earth mat as per specification.
2591 | 2.26 |  | a) Setting out of RMU positions | No | 1 | 0 | 0
2592 | 2.27 |  | b) RMU Earthing Installation including complete excavations and compaction | No | 1 | 0 | 0
1031 | 2.28 |  | c) RMU Plinth Installation | No | 1 | 0 | 0
1032 | 2.29 |  | d) Supply, delivery to site, storage, re-loading and positioning of a ABB SF6 metering 4-way, Ring-Main Unit, complete as specified and required by this section of the works, complete with outdoor housing enclosure with doors, cable termination boxes (only C-type terminations), switchgear and metering equipment as specified. Shop drawings to be submitted for approval prior to ordering. | Sum | 1 | 0 | 0
1033 | 2.30 |  | e) Labeling & warning signs RMU (equipment and circuits) | No | 3 | 0 | 0
1034 |  |  | NEW METERING CT's AT EXISTING 11kV SWITCH BOARD CIRCUIT BREAKER
1035 |  |  | PC Sum for the design, manufacture, supply, delivery, installation, assembling, on site testing & commissioning of the following equipment at the existing single busbar circuit breaker.
1039 | 2.31 |  | a) 2,5 mm x 4c Cu cable from11000/110V voltage transformer unit | m | 30 | 150 | 4500
1041 | 2.32 |  | b) 2,5 mm x 7c Cu cable from11000/110V current transformer unit | m | 30 | 250 | 7500
1055 | 2.33 |  | c) Metering CT's, Metering : C1 0,5 10 VA, Metering : 300/1 A (Connect 300/1) | No | 3 | 20000 | 60000
1056 | 2.34 |  | d) Coordination and liaison with PV solar specialist | Sum | 1 | 3500 | 3500
1057 | 2.35 |  | e) Profit & Attendance on the above items 2.31 to 2.34 | Sum | 1 | 0 | 0
| Total Carried Forward | [5 empty] | 75500
6207 Ph2A
Page 170
Tender No DRPW 015/2023
KIMBERLEY NURSING COLLEGE PHASE 2A - ACADEMIC CAMPUS
Schedule of Quantities
BILL 2: MEDIUM VOLTAGE RETICULATION
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [5 empty] | 75500
1058 |  |  | TEST & COMMISSION ELECTRICAL INSTALLATION
1059 | 2.36 |  | a) Commission complete medium voltage reticulation installation | Sum | 1 | 0 | 0
1060 | 2.37 | BW 8.2.1 | b) Pressure test of MV cable | Sum | 1 | 0 | 0
1061 | 2.38 |  | c) Test and certify electrical installation according to SANS 10142 | Sum | 1 | 0 | 0
1062 |  |  | GUARANTEE ON INSTALLATION
1063 | 2.39 |  | Allow for a 12 month guarantee on the complete medium voltage reticulation system. The 12 month period to commence from practical completion. | Sum | 1 | 0 | 0
| Total Carried Forward To Summary | [5 empty] | 75500
6207 Ph2A
Page 171
Tender No DRPW 015/2023
KIMBERLEY NURSING COLLEGE PHASE 2A - ACADEMIC CAMPUS
Schedule of Quantities
BILL 3: LOW VOLTAGE RETICULATION
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
1194 |  |  | BILL 3: LOW VOLTAGE CIRCULATION
2302 |  |  | LOW VOLTAGE CABLE
2303 |  |  | 600/1000V PVC/PVC/SWA/PVC copper cables laid in cable trenches and drawn into cable sleeves
2304 | 3.1 |  | a) 240 mm² x 4 Core | m | 250 | 0 | 0
2316 | 3.2 |  | b) 185 mm² x 4 Core | m | 170 | 0 | 0
2317 | 3.3 |  | c) 150 mm² x 4 Core | m | 850 | 0 | 0
2318 | 3.4 |  | d) 120 mm² x 4 Core | m | 120 | 0 | 0
2319 | 3.5 |  | e) 95 mm² x 4 Core | m | 1110 | 0 | 0
2305 | 3.6 |  | f) 70 mm² x 4 Core | m | 30 | 0 | 0
2306 | 3.7 |  | g) 50 mm² x 4 Core | m | 525 | 0 | 0
2307 | 3.8 |  | h) 35 mm² x 4 Core | m | 1470 | 0 | 0
2308 | 3.9 |  | i) 25 mm² x 4 Core | m | 1030 | 0 | 0
2309 | 3.10 |  | j) 16 mm² x 4 Core | m | 165 | 0 | 0
2320 | 3.11 |  | k) 10 mm² x 4 Core | m | 1 | 0 | 0
2310 | 3.12 |  | l) 6 mm² x 4 Core | m | 1 | 0 | 0
2311 | 3.13 |  | m) 4 mm² x 4 Core | m | 1 | 0 | 0
2312 | 3.14 |  | n) 2,5 mm² x 4 Core | m | 1 | 0 | 0
2313 | 3.15 |  | o) 1,5 mm² x 4 Core | m | 1 | 0 | 0
2314 | 3.16 |  | p) 6 mm² x 3 Core | m | 1 | 0 | 0
2321 | 3.17 |  | q) 4 mm² x 3 Core | m | 1 | 0 | 0
| Total Carried Forward | [5 empty] | 0
6207 Ph2A
Page 172
Tender No DRPW 015/2023
KIMBERLEY NURSING COLLEGE PHASE 2A - ACADEMIC CAMPUS
Schedule of Quantities
BILL 3: LOW VOLTAGE RETICULATION
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [5 empty] | 0
2315 | 3.18 |  | r) 2,5 mm² x 3 Core | m | 1 | 0 | 0
2322 | 3.19 |  | s) 1,5 mm² x 3 Core | m | 1 | 0 | 0
1196 |  |  | EARTH WIRES
1198 |  |  | Stranded bare copper eart wires laid with cables in cable trenches and drawn into cable sleeves
1199 | 3.20 |  | a) BCEW: 120 mm² Laid with 185 mm² cables | m | 250 | 0 | 0
1200 | 3.21 |  | b) BCEW: 95 mm² Laid with 185 mm² cables | m | 170 | 0 | 0
2324 | 3.22 |  | c) BCEW: 95 mm² Laid with 150 mm² cables | m | 850 | 0 | 0
2325 | 3.23 |  | d) BCEW: 70 mm² Laid with 120 mm² cables | m | 120 | 0 | 0
2326 | 3.24 |  | e) BCEW: 50 mm² Laid with 95 mm² cables | m | 1110 | 0 | 0
1201 | 3.25 |  | f) BCEW: 35 mm² Laid with 70 mm² cables | m | 30 | 0 | 0
1202 | 3.26 |  | g) BCEW: 25 mm² Laid with 50 mm² cables | m | 525 | 0 | 0
1203 | 3.27 |  | h) BCEW: 25 mm² Laid with 35 mm² cables | m | 1470 | 0 | 0
1204 | 3.28 |  | i) BCEW: 16 mm² Laid with 25 mm² cables | m | 1030 | 0 | 0
2577 | 3.29 |  | j) BCEW: 10 mm² Laid with 16 mm² cables | m | 165 | 0 | 0
1205 | 3.30 |  | k) BCEW: 6 mm² Laid with 10 mm² cables | m | 1 | 0 | 0
1207 | 3.31 |  | l) BCEW: 4 mm² Laid with 6 mm² cables | m | 1 | 0 | 0
1211 | 3.32 |  | m) BCEW: 2,5 mm² Laid with 4 mm² cables | m | 1 | 0 | 0
1212 |  |  | TERMINATION OF LOW VOLTAGE CABLES
1214 |  |  | Complete as specified including lugs, glands, shrouds, cable boots and other accessories
1215 | 3.33 |  | a) 240 mm² x 4 Core | No | 6 | 0 | 0
1216 | 3.34 |  | b) 185 mm² x 4 Core | No | 6 | 0 | 0
1217 | 3.35 |  | c) 150 mm² x 4 Core | No | 10 | 0 | 0
2327 | 3.36 |  | d) 120 mm² x 4 Core | No | 2 | 0 | 0
1218 | 3.37 |  | e) 95 mm² x 4 Core | No | 40 | 0 | 0
| Total Carried Forward | [5 empty] | 0
6207 Ph2A
Page 173
Tender No DRPW 015/2023
KIMBERLEY NURSING COLLEGE PHASE 2A - ACADEMIC CAMPUS
Schedule of Quantities
BILL 3: LOW VOLTAGE RETICULATION
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [5 empty] | 0
1219 | 3.38 |  | f) 70 mm² x 4 Core | No | 2 | 0 | 0
3413 | 3.39 |  | g) 50 mm² x 4 Core | No | 12 | 0 | 0
1221 | 3.40 |  | h) 35 mm² x 4 Core | No | 22 | 0 | 0
1222 | 3.41 |  | i) 25 mm² x 4 Core | No | 38 | 0 | 0
1223 | 3.42 |  | j) 16 mm² x 4 Core | No | 16 | 0 | 0
1224 | 3.43 |  | k) 10 mm² x 4 Core | No | 1 | 0 | 0
2328 | 3.44 |  | l) 6 mm² x 4 Core | No | 1 | 0 | 0
3414 | 3.45 |  | m) 4 mm² x 4 Core | No | 1 | 0 | 0
3415 | 3.46 |  | n) 2,5 mm² x 4 Core | No | 1 | 0 | 0
3416 | 3.47 |  | o) 1,5 mm² x 4 Core | No | 1 | 0 | 0
1225 | 3.48 |  | p) 6 mm² x 3 Core | No | 1 | 0 | 0
3417 | 3.49 |  | q) 4 mm² x 3 Core | No | 1 | 0 | 0
1226 | 3.50 |  | r) 2,5 mm² x 3 Core | No | 1 | 0 | 0
1227 | 3.51 |  | s) 1,5 mm² x 3 Core | No | 1 | 0 | 0
2329 |  |  | TERMINATION OF EARTH WIRES
1228 |  |  | Complete as specified including lugs and other accessories
1229 | 3.52 |  | a) BCEW: 120 mm² | No | 6 | 0 | 0
3684 | 3.53 |  | b) BCEW: 95 mm² | No | 6 | 0 | 0
3685 | 3.54 |  | c) BCEW: 95 mm² | No | 10 | 0 | 0
3686 | 3.55 |  | d) BCEW: 70 mm² | No | 2 | 0 | 0
3687 | 3.56 |  | e) BCEW: 50 mm² | No | 40 | 0 | 0
3688 | 3.57 |  | f) BCEW: 35 mm² | No | 2 | 0 | 0
3689 | 3.58 |  | g) BCEW: 25 mm² | No | 12 | 0 | 0
3690 | 3.59 |  | h) BCEW: 25 mm² | No | 22 | 0 | 0
3691 | 3.60 |  | i) BCEW: 16 mm² | No | 38 | 0 | 0
3692 | 3.61 |  | j) BCEW: 10 mm² | No | 16 | 0 | 0
3693 | 3.62 |  | k) BCEW: 6 mm² | No | 1 | 0 | 0
3694 | 3.63 |  | l) BCEW: 4 mm² | No | 1 | 0 | 0
| Total Carried Forward | [5 empty] | 0
6207 Ph2A
Page 174
Tender No DRPW 015/2023
KIMBERLEY NURSING COLLEGE PHASE 2A - ACADEMIC CAMPUS
Schedule of Quantities
BILL 3: LOW VOLTAGE RETICULATION
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [5 empty] | 0
3695 | 3.64 |  | m) BCEW: 2,5 mm² | No | 1 | 0 | 0
3696 |  |  | LOW VOLTAGE DISTRIBUTION BOARDS
3697 |  |  | New distribution boards complete with all equipment as per schedules and specifications (Schneider type switchgear equipment only)
3698 | 3.65 |  | a) 750A TP MCCB, 25kA in existing mini-sub 2 as supply to DB Main | No | 1 | 0 | 0
3699 | 3.66 |  | b) DB-Main N: 3 Phase, surface mounted, floor standing interior distribution board including connections (As per SLDs) | No | 1 | 0 | 0
3700 | 3.67 |  | c) DB-Main E: 3 Phase, surface mounted, floor standing interior distribution board including connections (As per SLDs) | No | 1 | 0 | 0
3701 | 3.68 |  | d) DB-B2E: 3 Phase, surface mounted, floor standing exterior distribution board including connections (As per SLDs) | No | 1 | 0 | 0
3702 | 3.69 |  | e) PC Amount for cable trench recta grid installation in genset room - type Eskom fibreglass | Sum | 1 | 50000 | 50000
3703 | 3.70 |  | f) Set out positions for DBs | No | 4 | 0 | 0
3704 | 3.71 |  | g) Medium Duty Perforated Galvanised Steel Cable Tray: 300 mm Wide mounted vertical on brick walls under DB. | m | 20 | 0 | 0
3705 | 3.72 |  | h) P2000 Mounting supports for 300 mm cable tray | m | 20 | 0 | 0
3706 | 3.73 |  | i) Standard padlocks for minisubs and distribution kiosks | No | 15 | 0 | 0
3707 | 3.74 |  | j) Labeling and warning signs for Distribution boards | Sum | 1 | 0 | 0
3708 |  |  | EXCAVATIONS
3709 |  |  | Excavations as specified including backfilling and compaction. Cable Trenches shall be measured as max 500 mm wide x 750 mm deep unless otherwise specified.
3710 | 3.75 |  | a) Earth | m³ | 255 | 0 | 0
3711 | 3.76 |  | b) Soft Rock | m³ | 255 | 0 | 0
| Total Carried Forward | [5 empty] | 50000
6207 Ph2A
Page 175
Tender No DRPW 015/2023
KIMBERLEY NURSING COLLEGE PHASE 2A - ACADEMIC CAMPUS
Schedule of Quantities
BILL 3: LOW VOLTAGE RETICULATION
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [5 empty] | 50000
3712 | 3.77 |  | c) Hard Rock | m³ | 128 | 0 | 0
3713 | 3.78 |  | d) Tarred or paved road surface including repair to match existing | m³ | 1 | 0 | 0
3714 | 3.79 |  | e) Imported bedding | m³ | 340 | 0 | 0
3715 | 3.80 |  | f) Cart away and legally dispose of excess excavation material, level and make neat trenched areas | m³ | 19 | 0 | 0
3716 | 3.81 |  | g) Danger Tape | m | 1400 | 0 | 0
3717 |  |  | CABLE SLEEVES
3718 |  |  | Double wall corrugated complete with all couplings, fittings, bends, galvanised draw wire and accessories installed in cable trenches
3719 | 3.82 |  | a) 160 mm Ø HDPe | m | 250 | 0 | 0
3720 | 3.83 |  | b) 110 mm Ø HDPe | m | 250 | 0 | 0
3721 | 3.84 |  | c) 75 mm Ø HDPe | m | 250 | 0 | 0
3722 |  |  | Cable trays
3723 |  |  | Medium Duty Perforated Galvanised Steel Cable Tray mounted on brick walls including all bends,joints and support brackets complete with all bolts and nuts.
3724 | 3.85 |  | a) O-line 38H x 114W | m | 50 | 0 | 0
3725 | 3.86 |  | b) O-line 38H x 228W | m | 50 | 0 | 0
3726 | 3.87 |  | c) O-line 38H x 306W | m | 200 | 0 | 0
3727 |  |  | Commission & Test Electrical Installation
3728 | 3.88 |  | a) Commission complete low voltage reticulation installation | Sum | 1 | 0 | 0
3729 | 3.89 |  | b) Test and certify electrical installation according to SANS 10142 | Sum | 1 | 0 | 0
3730 |  |  | Guarantee on installation
3731 | 3.90 |  | Allow for a 12 month guarantee on the complete low voltage reticulation system. The 12 month period to commence from practical completion. | Sum | 1 | 0 | 0
| Total Carried Forward To Summary | [5 empty] | 50000
6207 Ph2A
Page 176
Tender No DRPW 015/2023
KIMBERLEY NURSING COLLEGE PHASE 2A - ACADEMIC CAMPUS
Schedule of Quantities
BILL 4: STANDBY DIESEL GENERATOR INSTALLATION
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
1254 |  |  | BILL 4: STANDBY DIESEL GENERATOR INSTALLATION
2330 |  |  | 350kVA STANDBY DIESEL GENERATORS
2331 |  |  | Supply and install three phase, 50HZ, 1500 rpm diesel standby genset complete with 1000Litre day tank, water jacket heater, electric fuel filling pump, lifting lugs and 30% dummy load including residential silencer with stainless steel tail pipe and flexible bellow fitted between engine and silencer and weatherproof canopy complete as manufactured and supplied by Unilec Power Systems.
2332 |  |  | a) Six cylinder turbo charged, TAD1342GE VOLVO diesel engine capable of producing 375kVA under standby conditions and 350kVA under prime conditions @ 1500 m above sea level.s or equal and approved.
2333 | 4.1 |  | b) 365kVA @ 0,8 power factor, three phase, Leroy Somer LSA 47A single bearing, brushless alternator coupled via flange and flexible coupling. | No | 1 | 0 | 0
2334 | 4.2 |  | c) Switchboard (genset panel) complete with 630A ABB Motorized Mains Isolator & Genset Circuit Breaker, Ammeters, Voltmeters, Frequency Display on Controller, control circuit breakers, slave relays & engine wiring terminals including a 8610DSE Deep Sea Controller. The Vdo Fuel gauge for fuel level display on controller. Separate swivel door wiring harnesses for separation of AC and DC cabling between the backplate and the conroller on the door. | No | 1 | 0 | 0
2335 | 4.3 |  | d) 1000 Litre Double wall, diesel day tank manuafctured of 3 and 4mm sheet metal, including fuel pump, lockable fuel filling cap and fuel pipes. | No | 1 | 0 | 0
2336 | 4.4 |  | e) 120 A/Hour Bosch Maintenance Free Battery complete with 24V battery charger or equal and approved. | No | 1 | 0 | 0
2337 | 4.5 |  | f) All required notices and labels, complete as specified: | No | 1 | 0 | 0
2338 | 4.6 |  | g) A set of earmuffs for hearing protection | No | 1 | 0 | 0
| Total Carried Forward | [5 empty] | 0
6207 Ph2A
Page 177
Tender No DRPW 015/2023
KIMBERLEY NURSING COLLEGE PHASE 2A - ACADEMIC CAMPUS
Schedule of Quantities
BILL 4: STANDBY DIESEL GENERATOR INSTALLATION
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [5 empty] | 0
2339 | 4.7 |  | h) Carbon Dioxide fire extinguisher, 5kg mounted inside outdoor weatherproof canopy | No | 1 | 0 | 0
2340 | 4.8 |  | i) Construct a weather proof and sound attenuated canopy, for the new generator, complete as specified. | No | 1 | 0 | 0
2341 | 4.9 |  | j) 30% Dummy load complete as specified. | No | 1 | 0 | 0
2342 | 4.10 |  | k) Relocate existing 350kVA genset to new genset room to form synchronised set with new 350kVA genset | No | 1 | 0 | 0
3839 | 4.11 |  | l) Replace existing DSE 7320 on existing genset with a new Deep Sea DSE8610 genset controller. | No | 1 | 0 | 0
3840 | 4.12 |  | m) Remove the existing mains motorised circuit breaker on the existing genset and reconfigure the output | No | 1 | 0 | 0
2343 | 4.13 |  | n) PC amount for weatherproof outlet louvres | PC Sum | 2 | 33500 | 67000
2344 | 4.14 |  | o) PC amount for weatherproof inlet louvres | PC Sum | 2 | 33500 | 67000
2345 | 4.15 |  | p) Profit & Attendance on the above items 4.13 and 4.14 above. | Sum | 1 | 0 | 0
2346 |  |  | Test and commission fo the complete Standby diesel, synchronised generator installation
2347 | 4.16 |  | a) Complete Factory test as specified | Sum | 1 | 0 | 0
2348 | 4.17 |  | b) Commission complete standby diesel generator installation | Sum | 1 | 0 | 0
| Total Carried Forward | [5 empty] | 134000
6207 Ph2A
Page 178
Tender No DRPW 015/2023
KIMBERLEY NURSING COLLEGE PHASE 2A - ACADEMIC CAMPUS
Schedule of Quantities
BILL 4: STANDBY DIESEL GENERATOR INSTALLATION
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [5 empty] | 134000
2349 | 4.18 |  | c) Complete synchronizing between the two standby diesel generators, including all programming and settings of the 2 x DSE 8610 and 1 x DSE 8660 controller, for the FAT and SAT with load acceptance tests, as specified, including belden 9841 comms cable. The DSE 8660 will be located in DB MAIN E in the genset room. | Sum | 1 | 0 | 0
2350 | 4.19 |  | d) Test and certify electrical installation according to SANS 10142-1, and NRS 024-1: Diesel Alternator sets for fixed installations | Sum | 1 | 0 | 0
2351 | 4.20 |  | e) Maintenance and repair during the 12 month defects liability period | Sum | 1 | 0 | 0
2352 | 4.21 |  | f) Maintenance and repair during the 12 months following the completion of the guarantee period | Sum | 1 | 0 | 0
2354 | 4.22 |  | g) Training of user department staff as specified | Sum | 1 | 0 | 0
3841 | 4.23 |  | h) Compilation of Operation and Maintenance Manuals | Sum | 1 | 0 | 0
2355 |  |  | BULK FUEL AST TANK AND PIPING INSTALLATION
2356 |  |  | PC amount for the supply and installation of a complete above ground fuel storage and piping installation by an approved petroleum installation specialist to comply with SANS 10131 and SANS 10089-3.
2357 |  |  | Remote Filler Point
2358 | 4.24 |  | a) Supply and install type Forgeweld Eco Safe recessed ground mounted diesel filler point complete with SIDE ENTRY elbow assembly, filler spill containment body, clamp band, sump ring seal, frame ring, lid, tank ID Marker frame & labels and lid locking assembly, complete with a dry break fuel coupler. | No | 1 | 23000 | 23000
| Total Carried Forward | [5 empty] | 157000
6207 Ph2A
Page 179
Tender No DRPW 015/2023
KIMBERLEY NURSING COLLEGE PHASE 2A - ACADEMIC CAMPUS
Schedule of Quantities
BILL 4: STANDBY DIESEL GENERATOR INSTALLATION
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [5 empty] | 157000
1263 | 4.25 |  | b) Supply and install a Filler-Spill brick manhole plastered and painted with PLASCOGUARD GEHOPON 3000 WB SERIES colour grey on inside of manhole, including a cast -iron cover rated to accommodate heavy duty vehicles. Manhole inside measurements of 1000mm L x 600mm W x 600mm D including excavations and base of manhole. | No | 1 | 10000 | 10000
1264 | 4.26 |  | c) Supply and install type Forgeweld Eco Safe recessed ground mounted diesel containment sump complete with SIDE ENTRY elbow assembly, filler spill containment body, clamp band, sump ring seal, frame ring, lid, tank ID Marker frame & labels and lid locking assembly, complete with full metal brass Lupatech Mipel shut-off gate valve at filler point for maintenance purposes complete with all fittings. | No | 1 | 13000 | 13000
2359 |  |  | Supply from Remote Filler Point to AST Tank
2578 | 4.27 |  | a) Supply and install 160 mm Ø Corrugated PVC sleeve between the remote filler point and the AST tank as specified on the drawings, including allowance for the SLOW BEND. | m | 30 | 100 | 3000
2579 | 4.28 |  | b) Supply and install 75 mm Ø flexible fuel pipe type Continental Prospector Petro 150 inside the 160 mm Ø sleeve from the remote filler point to the flexible-steel connection point at the AST tank as specified on the drawings complete with all fittings. Measured per route length. | m | 34 | 1000 | 34000
2580 | 4.29 |  | c) Supply and install 75 mm Ø schedule 40 steel pipe from the flex-to-steel connection to the AST tank filler point as specified on the drawings complete with elbows, bends, fittings including 300 mm P2000 unistrut portions with saddles and roll bolts to support the schedule 40 steel pipe at 1m intervals. Measured per route length. | m | 10 | 650 | 6500
2581 | 4.30 |  | d) Supply and install complete 75 mm Ø Flex-to-steel connection complete with all clamps. | No | 1 | 500 | 500
| Total Carried Forward | [5 empty] | 224000
6207 Ph2A
Page 180
Tender No DRPW 015/2023
KIMBERLEY NURSING COLLEGE PHASE 2A - ACADEMIC CAMPUS
Schedule of Quantities
BILL 4: STANDBY DIESEL GENERATOR INSTALLATION
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [5 empty] | 224000
2582 | 4.31 |  | e) Supply and install full metal brass Lupatech Mipel shut-off gate valve at AST tank filler point including lock-out mechanism with pad-lock. | No | 1 | 330 | 330
1273 |  |  | AST Fuel Tank
1275 | 4.32 |  | 4500 Litre Bulk Fuel AST Tank as manufactured and supplied by Forgeweld, complete with all filler and drain outlets and flanges with footing support cradles and platform with staircase as specified on drawings. | No | 1 | 110000 | 110000
1276 |  |  | Fuel Filtration - and Drain Pipeline Section
1277 | 4.33 |  | a) Supply and install DUVALCO MFS semi-bulk fuel-filtration system for outdoor weatherproof installation at bulk tank complete with all fittings. | No | 1 | 70000 | 70000
1278 | 4.34 |  | b) Supply and install 22 mm Ø stainless steel fuel pipe with spacer saddles at 1m intervals as supplied by SPU Stainless Steel Piping Utilities at the fuel filtration - and drain pipeline section including all crimp link male/female 90˚ bend, elbow, end union, coupling, reducer/cap and Tee adaptors completely crimped to supplier specifications. Measured per route length. | m | 6 | 600 | 3600
1279 | 4.35 |  | c) Supply and install full metal brass Lupatech Mipel drain gate valves at fuel filtration pipeline section as specified on the drawings complete with all fittings | No | 3 | 330 | 990
1280 | 4.36 |  | d) 1,5 mm x 3c Cu cable between genset 1 and the DUVALCO filtration system for 24V DC supply complete with 25 mm galvanise conduit and spacer saddles at 1 m intervals. | m | 20 | 100 | 2000
1281 |  |  | Supply from AST Tank to Genset Day Tanks
3732 | 4.37 |  | a) Supply and install full metal brass Lupatech Mipel shut-off gate valve at AST tank outlet point complete with all fittings | No | 1 | 330 | 330
| Total Carried Forward | [5 empty] | 411250
6207 Ph2A
Page 181
Tender No DRPW 015/2023
KIMBERLEY NURSING COLLEGE PHASE 2A - ACADEMIC CAMPUS
Schedule of Quantities
BILL 4: STANDBY DIESEL GENERATOR INSTALLATION
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [5 empty] | 411250
3733 | 4.38 |  | b) Supply and install a full metal brass fuel fire shut-off valve with 121˚C fuse link as specified on the drawings complete with 4mm steel cable, 2 kg cast iron weight, 40 mm key rings, 5mm steel u-bolt, 6mm steel anchors and 6mm steel chain, including P2000 unistrut for support from AST tank. | No | 1 | 2500 | 2500
3734 | 4.39 |  | c) Supply and install type FP Filter Plus B10-ALBSP Bulk Tank In-Line Fuel Water Separator with transparent glass complete with Fittings and Spare Filter. | No | 1 | 3100 | 3100
3735 | 4.40 |  | d) Supply and install 22 mm Ø stainless steel fuel pipe with spacer saddles at 1m interval as supplied by SPU Stainless Steel Piping Utilities at the Tee to split section after water separator including all crimp link male/female 90˚ bend, elbow, end union, coupling, reducer/cap and Tee adaptors completely crimped to supplier specifications. Measured per route length. | m | 4 | 600 | 2400
3736 | 4.41 |  | e) Supply and install full metal brass Lupatech Mipel shut-off gate valve at Tee to split section after water separator complete with all fittings | No | 2 | 330 | 660
3737 | 4.42 |  | f) Supply and install 22 mm Ø stainless steel fuel pipe with spacer saddles at 1m interval as supplied by SPU Stainless Steel Piping Utilities between the AST tank and the genset day tanks including all crimp link male/female 90˚ bend, elbow, end union, coupling, reducer/cap and Tee adaptors completely crimped to supplier specifications. Two separate feeds, one two each day tank. Measured per route length. | m | 50 | 600 | 30000
3738 | 4.43 |  | g) Supply and install full metal brass Lupatech Mipel shut-off gate valve at each day tank connection before the N/O and N/C actuators, complete with all fittings. The N/O and N/C actuators are supplied and installed by other. | No | 2 | 330 | 660
3739 |  |  | Vent Pipes and Spill Drains
| Total Carried Forward | [5 empty] | 450570
6207 Ph2A
Page 182
Tender No DRPW 015/2023
KIMBERLEY NURSING COLLEGE PHASE 2A - ACADEMIC CAMPUS
Schedule of Quantities
BILL 4: STANDBY DIESEL GENERATOR INSTALLATION
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [5 empty] | 450570
3740 | 4.44 |  | h) Supply and install 3 x 50 mm Diesel fuel vent pipes, each with a weatherproof upflow vent end, complete with all bends, support brackets, couplings and connections . All three vent pipes measured per route length. | m | 12 | 330 | 3960
3842 | 4.45 |  | i) Supply and install full metal brass Lupatech Mipel shut-off gate valve inside the spill drain complete with all fittings | No | 1 | 330 | 330
3741 | 4.46 |  | Profit & Attendance on the above items 4.24 to 4.45 above | Sum | 1 | 0 | 0
3756 |  |  | EXCAVATIONS
3757 |  |  | Excavations as specified including backfilling and compaction. Pipe Trenches shall be measured as max 450 mm wide x 750 mm deep unless otherwise specified.
3758 | 4.47 |  | a) Earth | m³ | 5 | 0 | 0
3759 | 4.48 |  | b) Soft Rock | m³ | 3 | 0 | 0
3760 | 4.49 |  | c) Hard Rock | m³ | 3 | 0 | 0
3761 | 4.50 |  | d) Imported bedding | m³ | 4 | 0 | 0
3762 | 4.51 |  | e) Cart away and legally dispose of excess excavation material, level and make neat trenched areas | m³ | 3 | 0 | 0
3763 |  |  | TEST AND COMMISIONING
3764 | 4.52 |  | Test, commissioning and certification of the complete above ground fuel storage system by an approved specialist | Sum | 1 | 0 | 0
3765 |  |  | DIESEL FILLING
3768 | 4.53 |  | Supply and install Diesel 50 ppm in two genset day tanks and one AST tank | ℓ | 6500 | 0 | 0
3766 |  |  | Guarantee on installation
3767 | 4.54 |  | a) Allow for a 12 month guarantee on the complete standby diesel synchronised generator system. The 12 month period to commence from practical completion. | Sum | 1 | 0 | 0
3742 | 4.55 |  | b) Allow for a 12 month guarantee on the complete above ground fuel storage system. The 12 month period to commence from practical completion. | Sum | 1 | 0 | 0
| Total Carried Forward To Summary | [5 empty] | 454860
6207 Ph2A
Page 183
Tender No DRPW 015/2023
KIMBERLEY NURSING COLLEGE PHASE 2A - ACADEMIC CAMPUS
Schedule of Quantities
BILL 5: AREA LIGHTING INSTALLATION
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
1385 |  |  | BILL NO 5: AREA LIGHTING INSTALLATION
1380 |  |  | LOW VOLTAGE CABLES
2453 |  |  | 600/1000V PVC/PVC/SWA/PVC copper cables laid in cable trenches and drawn into cable sleeves
2454 | 5.1 |  | a) 6 mm² x 3 Core - post top and street lights | m | 2300 | 0 | 0
2690 | 5.2 |  | b) 4 mm² x 3 Core - bollards and signage lights | m | 800 | 0 | 0
2455 | 5.3 |  | c) 2,5 mm² x 3 Core | m | 100 | 0 | 0
1381 | 5.4 |  | d) 1,5 mm² x 3 Core - spike lights | m | 100 | 0 | 0
1382 |  |  | TERMINATION OF LOW VOLTAGE CABLES
1383 |  |  | Complete as specified including lugs, glands, shrouds, cable boots and other accessories
1384 | 5.5 |  | a) 6 mm² x 3 Core | No | 150 | 0 | 0
1386 | 5.6 |  | b) 4 mm² x 3 Core | No | 140 | 0 | 0
2456 | 5.7 |  | c) 2,5 mm² x 3 Core | No | 1 | 0 | 0
2457 | 5.8 |  | d) 1,5 mm² x 3 Core | No | 50 | 0 | 0
1387 |  |  | LIGHT FITTINGS
2691 |  |  | Supply and install Light Fittings or equipment complete with lamps, connections, etc mounted in position. Refer to Schedule of Light Fittings for detail.
2692 | 5.9 |  | a) Type O1 - post top | No | 50 | 0 | 0
| Total Carried Forward | [5 empty] | 0
6207 Ph2A
Page 184
Tender No DRPW 015/2023
KIMBERLEY NURSING COLLEGE PHASE 2A - ACADEMIC CAMPUS
Schedule of Quantities
BILL 5: AREA LIGHTING INSTALLATION
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [5 empty] | 0
2693 | 5.10 |  | b) Type O2- street light | No | 25 | 0 | 0
1388 | 5.11 |  | c) Type P -flood | No | 3 | 0 | 0
2460 | 5.12 |  | d) Type T -spot wall wash | No | 10 | 0 | 0
2461 | 5.13 |  | e) Type T1 -spike tree | No | 40 | 0 | 0
2462 | 5.14 |  | f) Type U -neon strip-length 10 m in total | No | 10 | 0 | 0
2463 | 5.15 |  | g) Type V-up/down | No | 5 | 0 | 0
3769 | 5.16 |  | h) Type W - Each signage letter is 600 mm high x 500 mm wide. Quantity per signage letter | No | 60 | 0 | 0
3770 | 5.17 |  | i) Type X - bollard | No | 70 | 0 | 0
3771 |  |  | EXCAVATIONS
3772 |  |  | Excavations as specified including backfilling and compaction. Cable Trenches shall be measured as max 500 mm wide x 750 mm deep unless otherwise specified.
3773 | 5.18 |  | a) Earth | m³ | 190 | 0 | 0
3774 | 5.19 |  | b) Soft Rock | m³ | 38 | 0 | 0
3775 | 5.20 |  | c) Hard Rock | m³ | 152 | 0 | 0
3778 | 5.21 |  | d) Tarred or paved road surface including repair to match existing. | m³ | 1 | 0 | 0
3776 | 5.22 |  | e) Imported bedding | m³ | 152 | 0 | 0
3777 | 5.23 |  | f) Cart away and legally dispose of excess excavation material, level and make neat trenched areas | m³ | 1 | 0 | 0
3779 | 5.24 |  | g) Danger Tape | m | 1450 | 0 | 0
3780 |  |  | CABLE SLEEVES
3781 |  |  | Double wall corrugated complete with all couplings, fittings, bends, galvanised draw wire and accessories installed in cable trenches
3782 | 5.25 |  | a) 160 mm Ø HDPe | m | 250 | 0 | 0
3783 | 5.26 |  | b) 110 mm Ø HDPe | m | 250 | 0 | 0
3784 | 5.27 |  | c) 75 mm Ø HDPe | m | 250 | 0 | 0
| Total Carried Forward | [5 empty] | 0
6207 Ph2A
Page 185
Tender No DRPW 015/2023
KIMBERLEY NURSING COLLEGE PHASE 2A - ACADEMIC CAMPUS
Schedule of Quantities
BILL 5: AREA LIGHTING INSTALLATION
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [5 empty] | 0
3785 |  |  | MANHOLES AND WEATHER PROOF BOXES AT STEEL TREES
3786 |  |  | Double wall corrugated complete with all couplings, fittings, bends, galvanised draw wire and accessories installed in cable trenches
3787 | 5.28 |  | a) 75 mm Ø HDPe | m | 500 | 0 | 0
3788 | 5.29 |  | b) 600 x 600 x 600 mm Brick manhole with cast iron cover and frame | No | 10 | 0 | 0
3789 | 5.30 |  | c) Pratley, IK5 rectangular enviro IP68 junction box with 10 x 20 mmØ entries, hinged lid and screws | No | 11 | 0 | 0
3790 | 5.31 |  | d) Phase 3, 50 x 130 x 320 mm galvanised box with knock outs, cover and screws to house neon strip light IP67 LED drivers. | Sum | 11 | 0 | 0
3791 |  |  | TEST & COMMISSION ELECTRICAL INSTALLATION
3792 | 5.32 |  | a) Commission complete low voltage reticulation installation | Sum | 1 | 0 | 0
3793 | 5.33 |  | b) Test and certify electrical installation according to SANS 10142 | Sum | 1 | 0 | 0
3794 |  |  | GUARANTEE ON INSTALLATION
3795 | 5.34 |  | Allow for a 12 month guarantee on the complete low area lighting system. The 12 month period to commence from practical completion. | Sum | 1 | 0 | 0
| Total Carried Forward To Summary | [5 empty] | 0
6207 Ph2A
Page 186
Tender No DRPW 015/2023
KIMBERLEY NURSING COLLEGE PHASE 2A - ACADEMIC CAMPUS
Schedule of Quantities
BILL 6: SPORTSFIELD LIGHTING INSTALLATION
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
1411 |  |  | BILL 6: SPORTSFIELD LIGHTING INSTALLATION
1412 |  |  | LOW VOLTAGE CABLES
1413 |  |  | 600/1000V PVC/PVC/SWA/PVC copper cables laid in cable trenches and drawn into cable sleeves
2694 | 6.1 |  | a) 25 mm² x 4 Core | m | 332 | 0 | 0
1414 | 6.2 |  | b) 4 mm² x 7 Core | m | 240 | 0 | 0
2695 | 6.3 |  | c) 2,5 mm² x 3 Core neoprene HO7 cable | m | 84 | 0 | 0
2696 |  |  | EARTH WIRES
2697 |  |  | Stranded bare copper eart wires laid with cables in cable trenches and drawn into cable sleeves
2698 | 6.4 |  | BCEW: 16 mm² Laid with 25 mm² cables | m | 332 | 0 | 0
2699 |  |  | TERMINATION OF LOW VOLTAGE CABLES
2700 |  |  | Complete as specified including lugs, glands, shrouds, cable boots and other accessories
3796 | 6.5 |  | a) 25 mm² x 4 Core | No | 8 | 0 | 0
3797 | 6.6 |  | b) 4 mm² x 7 Core | No | 24 | 0 | 0
3798 | 6.7 |  | c) 2,5 mm² x 3 Core neoprene HO7 cable | No | 56 | 0 | 0
2704 |  |  | GALVANISED MASTS WITH FOUNDATIONS, LIGHT BRACKETS AND EXCAVATIONS
2705 | 6.8 |  | a) Supply, delivery to site, erection, installation and commissioning of a complete 18 m mounting height, Hot dipped Galvanised to SABS 763, floodlight mast with crossarms suitable to mount 7 x Beka Omniblast-2E-Midi, LED, 824W Luminaires, complete with cage ladder, access door, base plate, foundation bolts and templates as specified including cranage. As manufactured by Sectional poles | No | 4 | 0 | 0
2706 | 6.9 |  | b) Concrete foundations complete with Structural Design by Supplier to Engineer's specifications, complete including all excavations, cable sleeves and earthing. | No | 4 | 0 | 0
| Total Carried Forward | [5 empty] | 0
6207 Ph2A
Page 187
Tender No DRPW 015/2023
KIMBERLEY NURSING COLLEGE PHASE 2A - ACADEMIC CAMPUS
Schedule of Quantities
BILL 6: SPORTSFIELD LIGHTING INSTALLATION
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [5 empty] | 0
2707 | 6.10 |  | c) Supply, install, connect, test and commissioning of complete weather proof mast DB's (Mast 1 DB, Mast 2 DB, Mast 3 DB, Mast 4 DB) moulded from polyethylene material of the buried root type and UV protected, and as indicated on the drawings, complete with all internal equipment, switchgear, floodlight control gear and wiring as shown on the schematic wiring diagrams. Including all doors, labels, legend cards, busbars and wiring connections. (Supply of cable connections are excluded) | No | 4 | 0 | 0
2711 | 6.11 |  | d) Contractor must allow for a crane for erection of masts | No | 4 | 0 | 0
2712 |  |  | LED SPORTFIELD FLOOD LIGHT LUMINAIRES
2713 | 6.12 |  | a) Type P1 - Beka Omniblast-2E-Midi, LED, 910W including DALI Drivers | No | 28 | 0 | 0
2714 | 6.13 |  | b) Type P2 - Beka Omniblast-2E-Maxi, LED, 1408W including DALI Drivers | No | 16 | 0 | 0
2715 | 6.14 |  | c) Aiming of lights tio achieve average horisontal illumination for practive level of 200lux | No | 28 | 0 | 0
2716 | 6.15 |  | d) PC amount for the supply,delivery to site and installation of DALI control system consisting of 4 x ITERRA NODE weatherproof outdoor units, 1 x Repeater unit, complete including technician set-up and commissioning costs. | Sum | 1 | 50000 | 50000
2717 | 6.16 |  | e) Profit & Attendance on the above item 6.15 | Sum | 1 | 0 | 0
3799 |  |  | EXCAVATIONS
3800 |  |  | Excavations as specified including backfilling and compaction. Cable Trenches shall be measured as max 500 mm wide x 750 mm deep unless otherwise specified.
3801 | 6.17 |  | a) Earth | m³ | 33 | 0 | 0
| Total Carried Forward | [5 empty] | 50000
6207 Ph2A
Page 188
Tender No DRPW 015/2023
KIMBERLEY NURSING COLLEGE PHASE 2A - ACADEMIC CAMPUS
Schedule of Quantities
BILL 6: SPORTSFIELD LIGHTING INSTALLATION
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [5 empty] | 50000
3802 | 6.18 |  | b) Soft Rock | m³ | 7 | 0 | 0
3803 | 6.19 |  | c) Hard Rock | m³ | 26 | 0 | 0
3804 | 6.20 |  | d) Tarred or paved road surface including repair to match existing. | m³ | 1 | 0 | 0
3805 | 6.21 |  | e) Imported bedding | m³ | 26 | 0 | 0
3806 | 6.22 |  | f) Cart away and legally dispose of excess excavation material, level and make neat trenched areas | m³ | 1 | 0 | 0
3807 | 6.23 |  | g) Danger Tape | m | 250 | 0 | 0
3808 |  |  | CABLE SLEEVES
3809 |  |  | Double wall corrugated complete with all couplings, fittings, bends, galvanised draw wire and accessories installed in cable trenches
3810 | 6.24 |  | 160 mm Ø HDPe | m | 50 | 0 | 0
3811 |  |  | TEST & COMMISSION ELECTRICAL INSTALLATION
3812 | 6.25 |  | a) Commission complete low voltage reticulation installation | Sum | 1 | 0 | 0
3813 | 6.26 |  | b) Test and certify electrical installation according to SANS 10142 | Sum | 1 | 0 | 0
3814 |  |  | GUARANTEE ON INSTALLATION
3815 | 6.27 |  | Allow for a 12 month guarantee on the complete low voltage sportsfield lighting system. The 12 month period to commence from practical completion. | Sum | 1 | 0 | 0
| Total Carried Forward To Summary | [5 empty] | 50000
6207 Ph2A
Page 189
Tender No DRPW 015/2023
KIMBERLEY NURSING COLLEGE PHASE 2A - ACADEMIC CAMPUS
Schedule of Quantities
BILL 7: ICT SERVICES' SLEEVES AND MANHOLES
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
240 |  |  | BILL 7: ICT SERVICES' SLEEVES AND MANHOLES
3817 |  |  | EXCAVATIONS
3818 |  |  | Excavations as specified including backfilling and compaction. Cable Trenches shall be measured as max 500 mm wide x 750 mm deep unless otherwise specified.
3819 | 7.1 |  | a) Earth | m³ | 126 | 0 | 0
3820 | 7.2 |  | b) Soft Rock | m³ | 25 | 0 | 0
3821 | 7.3 |  | c) Hard Rock | m³ | 101 | 0 | 0
3822 | 7.4 |  | d) Tarred or paved road surface including repair to match existing. | m³ | 1 | 0 | 0
3823 | 7.5 |  | e) Imported bedding | m³ | 126 | 0 | 0
3824 | 7.6 |  | f) Cart away and legally dispose of excess excavation material, level and make neat trenched areas | m³ | 1 | 0 | 0
3825 |  |  | CABLE SLEEVES
3826 |  |  | Double wall corrugated complete with all couplings, fittings, bends, galvanised draw wire and accessories installed in cable trenches
3827 | 7.7 |  | a) 160 mm Ø HDPe | m | 1 | 0 | 0
3828 | 7.8 |  | b) 110 mm Ø HDPe | m | 3550 | 0 | 0
3829 | 7.9 |  | c) 75 mm Ø HDPe | m | 1 | 0 | 0
3830 |  |  | MANHOLES
3831 |  |  | Polyethylene modular stackable cable access chamber complete with tamper proof galvanised steel lid with frame embedded in concrete and key wrench. System symilar to Duraline Stackbox: 600 x 600 x 600 mm deep.
3832 | 7.10 |  | a) 600 x 600 x 600 mm Deep, 3 x 3 way with galvanised frame and lid | No | 45 | 0 | 0
3833 | 7.11 |  | b) Excavation of manhole | No | 45 | 0 | 0
3834 | 7.12 |  | c) Dry cement and stone mix (ratio 1:10), 100 mm thick base | No | 45 | 0 | 0
| Total Carried Forward | [5 empty] | 0
6207 Ph2A
Page 190
Tender No DRPW 015/2023
KIMBERLEY NURSING COLLEGE PHASE 2A - ACADEMIC CAMPUS
Schedule of Quantities
BILL 7: ICT SERVICES' SLEEVES AND MANHOLES
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [5 empty] | 0
3835 | 7.13 |  | d) Backfill around stackbox with soil crete (10% dry cement) and compact in 150 mm layers | No | 45 | 0 | 0
3836 | 7.14 |  | e) Concrete apron at least 100 mm thick around the metal frame | No | 45 | 0 | 0
3837 |  |  | GUARANTEE ON INSTALLATION
3838 | 7.15 |  | Allow for a 12 month guarantee on the complete ICT sleeve and manhole system. The 12 month period to commence from practical completion. | Sum | 1 | 0 | 0
| Total Carried Forward To Summary | [5 empty] | 0
6207 Ph2A
Page 191
Tender No DRPW 015/2023
KIMBERLEY NURSING COLLEGE PHASE 2A - ACADEMIC CAMPUS
Schedule of Quantities
BILL 8 : CONTINGENCIES
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
632 |  |  | BILL 8: CONTINGENCIES
633 | 8.1 |  | Provide an amount that can be used in total or partially to cover for unforseen or additional work as instructed in writing by the Engineer. This amount will be duducted from the contract amount should it not be required. Amount = 0,10 (Sum of Bill 1 to 7) = 0,10 x R............................................. Amount = R.......................................... | % | 10 | 0 | 0
| Total Carried Forward To Summary | [5 empty] | 0
6207 Ph2A
Page 192
Tender No DRPW 015/2023
KIMBERLEY NURSING COLLEGE PHASE 2A - ACADEMIC CAMPUS
Schedule of Quantities
SUMMARY OF SECTIONS
|  | SECTION | DESCRIPTION |  |  |  | AMOUNT R
|  |  | BILL 1: PRELIMINARY AND GENERAL |  |  |  | 0
|  |  | BILL 2: MEDIUM VOLTAGE RETICULATION |  |  |  | 75500
|  |  | BILL 3: LOW VOLTAGE RETICULATION |  |  |  | 50000
|  |  | BILL 4: STANDBY DIESEL GENERATOR INSTALLATION |  |  |  | 454860
|  |  | BILL 5: AREA LIGHTING INSTALLATION |  |  |  | 0
|  |  | BILL 6: SPORTSFIELD LIGHTING INSTALLATION |  |  |  | 50000
|  |  | BILL 7: ICT SERVICES' SLEEVES AND MANHOLES |  |  |  | 0
|  |  | BILL 8: CONTINGENCIES |  |  |  | 0
|  | Total Carried Forward To Summary Of Schedules | Total Carried Forward To Summary Of Schedules |  |  |  | 630360
6207 Ph2A
Note on A1: Item¦Payment¦Description¦Unit¦Qty¦Rate¦Amount§1¦Tender No : §1¦Schedule of Quantities§BILL 1: PRELIMINARY AND GENERAL¦BILL 2: MEDIUM VOLTAGE RETICULATION¦BILL 3: LOW VOLTAGE RETICULATION¦BILL 4: STANDBY DIESEL GENERATOR INSTALLATION¦BILL 5: AREA LIGHTING INSTALLATION¦BILL 6: SPORTSFIELD LIGHTING INSTALLATION¦BILL 7: ICT SERVICES' SLEEVES AND MANHOLES¦BILL 8: CONTINGENCIES
Note on A7: ¦1¦1¦1¦1¦0¦Null§SubSection
Note on A9: ¦1¦1¦1¦2¦2¦Null§
Note on A11: ¦1¦1¦1¦3¦0¦Null§
Note on A13: ¦1¦1¦1¦4¦0¦Null§
Note on A15: ¦1¦1¦1¦5¦0¦Null§
Note on A17: ¦1¦1¦1¦6¦0¦Null§
Note on A19: ¦1¦1¦1¦7¦0¦Null§
Note on A21: ¦1¦1¦1¦8¦0¦Null§
Note on A23: ¦1¦1¦1¦9¦0¦Null§
Note on A25: ¦1¦1¦1¦10¦0¦Null§
Note on A27: ¦1¦1¦1¦11¦0¦Null§
Note on A29: ¦1¦1¦1¦12¦0¦Null§
Note on A31: ¦1¦1¦1¦13¦0¦Null§
Note on A33: ¦1¦1¦1¦14¦0¦Null§
Note on A35: ¦1¦1¦1¦15¦0¦Null§
Note on A37: ¦1¦1¦1¦16¦0¦Null§
Note on A39: ¦1¦1¦1¦17¦0¦Null§
Note on A41: ¦1¦1¦1¦18¦0¦Null§
Note on A43: ¦1¦1¦1¦19¦0¦Null§
Note on A45: ¦1¦1¦1¦20¦0¦Null§
Note on A56: ¦1¦1¦1¦21¦0¦Null§
Note on A58: ¦1¦1¦1¦22¦1¦Null§
Note on A60: ¦1¦1¦1¦23¦1¦Null§
Note on A62: ¦1¦1¦1¦24¦0¦Null§
Note on A64: ¦1¦1¦1¦25¦0¦Null§
Note on A66: ¦1¦1¦1¦26¦0¦Null§
Note on A68: ¦1¦1¦1¦27¦0¦Null§
Note on A70: ¦1¦1¦1¦28¦0¦Null§
Note on A72: ¦1¦1¦1¦29¦0¦Null§
Note on A74: ¦1¦1¦1¦30¦0¦Null§
Note on A76: ¦1¦1¦1¦31¦0¦Null§
Note on A78: ¦1¦1¦1¦32¦0¦Null§
Note on A80: ¦1¦1¦1¦33¦0¦Null§
Note on A117: ¦1¦1¦2¦1¦0¦Null§SubSection
Note on A119: ¦1¦1¦2¦2¦0¦Null§
Note on A121: ¦1¦1¦2¦3¦0¦Null§
Note on A123: ¦1¦1¦2¦4¦0¦Null§
Note on A125: ¦1¦1¦2¦5¦0¦Null§
Note on A127: ¦1¦1¦2¦6¦0¦Null§
Note on A129: ¦1¦1¦2¦7¦0¦Null§
Note on A131: ¦1¦1¦2¦8¦0¦Null§
Note on A133: ¦1¦1¦2¦9¦0¦Null§
Note on A135: ¦1¦1¦2¦10¦0¦Null§
Note on A137: ¦1¦1¦2¦11¦0¦Null§
Note on A139: ¦1¦1¦2¦12¦0¦Null§
Note on A141: ¦1¦1¦2¦13¦1¦Null§
Note on A143: ¦1¦1¦2¦14¦1¦Null§
Note on A145: ¦1¦1¦2¦15¦0¦Null§
Note on A147: ¦1¦1¦2¦16¦0¦Null§
Note on A158: ¦1¦1¦2¦17¦0¦Null§
Note on A160: ¦1¦1¦2¦18¦1¦Null§
Note on A162: ¦1¦1¦2¦19¦1¦Null§
Note on A164: ¦1¦1¦2¦20¦0¦Null§
Note on A166: ¦1¦1¦2¦21¦0¦Null§
Note on A168: ¦1¦1¦2¦22¦1¦Null§
Note on A170: ¦1¦1¦2¦23¦0¦Null§
Note on A172: ¦1¦1¦2¦24¦0¦Null§
Note on A174: ¦1¦1¦2¦25¦0¦Null§
Note on A176: ¦1¦1¦2¦26¦2¦Null§
Note on A178: ¦1¦1¦2¦27¦0¦Null§
Note on A180: ¦1¦1¦2¦28¦0¦Null§
Note on A182: ¦1¦1¦2¦29¦0¦Null§
Note on A184: ¦1¦1¦2¦30¦0¦Null§
Note on A186: ¦1¦1¦2¦31¦0¦Null§
Note on A188: ¦1¦1¦2¦32¦0¦Null§
Note on A190: ¦1¦1¦2¦33¦0¦Null§
Note on A192: ¦1¦1¦2¦34¦0¦Null§
Note on A194: ¦1¦1¦2¦35¦0¦Null§
Note on A196: ¦1¦1¦2¦36¦0¦Null§
Note on A198: ¦1¦1¦2¦37¦0¦Null§
Note on A208: ¦1¦1¦2¦38¦0¦Null§
Note on A210: ¦1¦1¦2¦39¦0¦Null§
Note on A212: ¦1¦1¦2¦40¦0¦Null§
Note on A214: ¦1¦1¦2¦41¦0¦Null§
Note on A216: ¦1¦1¦2¦42¦0¦Null§
Note on A218: ¦1¦1¦2¦43¦0¦Null§
Note on A220: ¦1¦1¦2¦44¦0¦Null§
Note on A222: ¦1¦1¦2¦45¦0¦Null§
Note on A224: ¦1¦1¦2¦46¦0¦Null§
Note on A226: ¦1¦1¦2¦47¦0¦Null§
Note on A228: ¦1¦1¦2¦48¦0¦Null§
Note on A230: ¦1¦1¦2¦49¦0¦Null§
Note on A232: ¦1¦1¦2¦50¦0¦Null§
Note on A234: ¦1¦1¦2¦51¦0¦Null§
Note on A236: ¦1¦1¦2¦52¦0¦Null§
Note on A247: ¦1¦1¦2¦53¦0¦Null§
Note on A249: ¦1¦1¦2¦54¦0¦Null§
Note on A251: ¦1¦1¦2¦55¦0¦Null§
Note on A253: ¦1¦1¦2¦56¦0¦Null§
Note on A255: ¦1¦1¦2¦57¦0¦Null§
Note on A257: ¦1¦1¦2¦58¦0¦Null§
Note on A305: ¦1¦1¦3¦1¦2¦Null§SubSection
Note on A307: ¦1¦1¦3¦2¦0¦Null§
Note on A309: ¦1¦1¦3¦3¦1¦Null§
Note on A311: ¦1¦1¦3¦4¦0¦Null§
Note on A313: ¦1¦1¦3¦5¦0¦Null§
Note on A315: ¦1¦1¦3¦6¦0¦Null§
Note on A317: ¦1¦1¦3¦7¦0¦Null§
Note on A319: ¦1¦1¦3¦8¦0¦Null§
Note on A321: ¦1¦1¦3¦9¦0¦Null§
Note on A323: ¦1¦1¦3¦10¦0¦Null§
Note on A325: ¦1¦1¦3¦11¦0¦Null§
Note on A327: ¦1¦1¦3¦12¦0¦Null§
Note on A329: ¦1¦1¦3¦13¦0¦Null§
Note on A331: ¦1¦1¦3¦14¦0¦Null§
Note on A333: ¦1¦1¦3¦15¦0¦Null§
Note on A335: ¦1¦1¦3¦16¦0¦Null§
Note on A337: ¦1¦1¦3¦17¦0¦Null§
Note on A339: ¦1¦1¦3¦18¦0¦Null§
Note on A341: ¦1¦1¦3¦19¦0¦Null§
Note on A343: ¦1¦1¦3¦20¦0¦Null§
Note on A368: ¦1¦1¦3¦21¦0¦Null§NewPage
Note on A370: ¦1¦1¦3¦22¦0¦Null§
Note on A372: ¦1¦1¦3¦23¦2¦Null§
Note on A374: ¦1¦1¦3¦24¦2¦Null§
Note on A376: ¦1¦1¦3¦25¦0¦Null§
Note on A378: ¦1¦1¦3¦26¦0¦Null§
Note on A380: ¦1¦1¦3¦27¦0¦Null§
Note on A382: ¦1¦1¦3¦28¦0¦Null§
Note on A384: ¦1¦1¦3¦29¦0¦Null§
Note on A386: ¦1¦1¦3¦30¦0¦Null§
Note on A388: ¦1¦1¦3¦31¦0¦Null§
Note on A390: ¦1¦1¦3¦32¦0¦Null§
Note on A392: ¦1¦1¦3¦33¦0¦Null§
Note on A394: ¦1¦1¦3¦34¦0¦Null§
Note on A396: ¦1¦1¦3¦35¦0¦Null§
Note on A398: ¦1¦1¦3¦36¦0¦Null§
Note on A400: ¦1¦1¦3¦37¦0¦Null§
Note on A402: ¦1¦1¦3¦38¦0¦Null§
Note on A404: ¦1¦1¦3¦39¦0¦Null§
Note on A406: ¦1¦1¦3¦40¦0¦Null§
Note on A408: ¦1¦1¦3¦41¦0¦Null§
Note on A410: ¦1¦1¦3¦42¦0¦Null§
Note on A412: ¦1¦1¦3¦43¦0¦Null§
Note on A414: ¦1¦1¦3¦44¦0¦Null§
Note on A424: ¦1¦1¦3¦45¦0¦Null§
Note on A426: ¦1¦1¦3¦46¦0¦Null§
Note on A428: ¦1¦1¦3¦47¦0¦Null§
Note on A430: ¦1¦1¦3¦48¦0¦Null§
Note on A432: ¦1¦1¦3¦49¦0¦Null§
Note on A434: ¦1¦1¦3¦50¦0¦Null§
Note on A436: ¦1¦1¦3¦51¦0¦Null§
Note on A438: ¦1¦1¦3¦52¦0¦Null§
Note on A440: ¦1¦1¦3¦53¦0¦Null§
Note on A442: ¦1¦1¦3¦54¦0¦Null§
Note on A444: ¦1¦1¦3¦55¦0¦Null§
Note on A446: ¦1¦1¦3¦56¦0¦Null§
Note on A448: ¦1¦1¦3¦57¦0¦Null§
Note on A450: ¦1¦1¦3¦58¦0¦Null§
Note on A452: ¦1¦1¦3¦59¦0¦Null§
Note on A454: ¦1¦1¦3¦60¦2¦Null§
Note on A456: ¦1¦1¦3¦61¦0¦Null§
Note on A458: ¦1¦1¦3¦62¦0¦Null§
Note on A460: ¦1¦1¦3¦63¦0¦Null§
Note on A462: ¦1¦1¦3¦64¦0¦Null§
Note on A464: ¦1¦1¦3¦65¦0¦Null§
Note on A466: ¦1¦1¦3¦66¦0¦Null§
Note on A468: ¦1¦1¦3¦67¦0¦Null§
Note on A470: ¦1¦1¦3¦68¦0¦Null§
Note on A472: ¦1¦1¦3¦69¦0¦Null§
Note on A474: ¦1¦1¦3¦70¦0¦Null§
Note on A476: ¦1¦1¦3¦71¦0¦Null§
Note on A478: ¦1¦1¦3¦72¦0¦Null§
Note on A488: ¦1¦1¦3¦73¦0¦Null§
Note on A490: ¦1¦1¦3¦74¦1¦Null§
Note on A492: ¦1¦1¦3¦75¦1¦Null§
Note on A494: ¦1¦1¦3¦76¦0¦Null§
Note on A496: ¦1¦1¦3¦77¦0¦Null§
Note on A498: ¦1¦1¦3¦78¦0¦Null§
Note on A500: ¦1¦1¦3¦79¦0¦Null§
Note on A502: ¦1¦1¦3¦80¦0¦Null§
Note on A504: ¦1¦1¦3¦81¦0¦Null§
Note on A506: ¦1¦1¦3¦82¦0¦Null§
Note on A508: ¦1¦1¦3¦83¦0¦Null§
Note on A510: ¦1¦1¦3¦84¦0¦Null§
Note on A512: ¦1¦1¦3¦85¦0¦Null§
Note on A514: ¦1¦1¦3¦86¦1¦Null§
Note on A516: ¦1¦1¦3¦87¦1¦Null§
Note on A518: ¦1¦1¦3¦88¦0¦Null§
Note on A520: ¦1¦1¦3¦89¦0¦Null§
Note on A531: ¦1¦1¦3¦90¦0¦Null§
Note on A533: ¦1¦1¦3¦91¦0¦Null§
Note on A535: ¦1¦1¦3¦92¦0¦Null§
Note on A537: ¦1¦1¦3¦93¦0¦Null§
Note on A539: ¦1¦1¦3¦94¦0¦Null§
Note on A541: ¦1¦1¦3¦95¦1¦Null§
Note on A543: ¦1¦1¦3¦96¦1¦Null§
Note on A545: ¦1¦1¦3¦97¦0¦Null§
Note on A547: ¦1¦1¦3¦98¦0¦Null§
Note on A549: ¦1¦1¦3¦99¦0¦Null§
Note on A551: ¦1¦1¦3¦100¦1¦Null§
Note on A553: ¦1¦1¦3¦101¦1¦Null§
Note on A555: ¦1¦1¦3¦102¦0¦Null§
Note on A557: ¦1¦1¦3¦103¦0¦Null§
Note on A559: ¦1¦1¦3¦104¦0¦Null§
Note on A561: ¦1¦1¦3¦105¦1¦Null§
Note on A563: ¦1¦1¦3¦106¦0¦Null§
Note on A565: ¦1¦1¦3¦107¦0¦Null§
Note on A567: ¦1¦1¦3¦108¦1¦Null§
Note on A569: ¦1¦1¦3¦109¦0¦Null§
Note on A580: ¦1¦1¦4¦1¦2¦Null§SubSection
Note on A582: ¦1¦1¦4¦2¦0¦Null§
Note on A584: ¦1¦1¦4¦3¦1¦Null§
Note on A586: ¦1¦1¦4¦4¦0¦Null§
Note on A588: ¦1¦1¦4¦5¦0¦Null§
Note on A590: ¦1¦1¦4¦6¦0¦Null§
Note on A592: ¦1¦1¦4¦7¦0¦Null§
Note on A594: ¦1¦1¦4¦8¦0¦Null§
Note on A596: ¦1¦1¦4¦9¦0¦Null§
Note on A598: ¦1¦1¦4¦10¦0¦Null§
Note on A609: ¦1¦1¦4¦11¦0¦Null§
Note on A611: ¦1¦1¦4¦12¦0¦Null§
Note on A613: ¦1¦1¦4¦13¦0¦Null§
Note on A615: ¦1¦1¦4¦14¦0¦Null§
Note on A617: ¦1¦1¦4¦15¦0¦Null§
Note on A619: ¦1¦1¦4¦16¦0¦Null§
Note on A621: ¦1¦1¦4¦17¦0¦Null§
Note on A623: ¦1¦1¦4¦18¦0¦Null§
Note on A625: ¦1¦1¦4¦19¦0¦Null§
Note on A627: ¦1¦1¦4¦20¦0¦Null§
Note on A629: ¦1¦1¦4¦21¦0¦Null§
Note on A631: ¦1¦1¦4¦22¦0¦Null§
Note on A659: ¦1¦1¦4¦23¦0¦Null§NewPage
Note on A661: ¦1¦1¦4¦24¦0¦Null§
Note on A663: ¦1¦1¦4¦25¦0¦Null§
Note on A665: ¦1¦1¦4¦26¦0¦Null§
Note on A667: ¦1¦1¦4¦27¦0¦Null§
Note on A669: ¦1¦1¦4¦28¦0¦Null§
Note on A671: ¦1¦1¦4¦29¦0¦Null§
Note on A673: ¦1¦1¦4¦30¦0¦Null§
Note on A675: ¦1¦1¦4¦31¦1¦Null§
Note on A677: ¦1¦1¦4¦32¦0¦Null§
Note on A696: ¦1¦1¦4¦33¦0¦Null§
Note on A698: ¦1¦1¦4¦34¦0¦Null§
Note on A700: ¦1¦1¦4¦35¦0¦Null§
Note on A702: ¦1¦1¦4¦36¦0¦Null§
Note on A704: ¦1¦1¦4¦37¦0¦Null§
Note on A706: ¦1¦1¦4¦38¦0¦Null§
Note on A708: ¦1¦1¦4¦39¦0¦Null§
Note on A721: ¦1¦1¦4¦40¦0¦Null§
Note on A723: ¦1¦1¦4¦41¦2¦Null§
Note on A725: ¦1¦1¦4¦42¦0¦Null§
Note on A727: ¦1¦1¦4¦43¦0¦Null§
Note on A729: ¦1¦1¦4¦44¦0¦Null§
Note on A731: ¦1¦1¦4¦45¦0¦Null§
Note on A733: ¦1¦1¦4¦46¦0¦Null§
Note on A735: ¦1¦1¦4¦47¦0¦Null§
Note on A737: ¦1¦1¦4¦48¦0¦Null§
Note on A739: ¦1¦1¦4¦49¦0¦Null§
Note on A756: ¦1¦1¦4¦50¦0¦Null§
Note on A758: ¦1¦1¦4¦51¦0¦Null§
Note on A760: ¦1¦1¦4¦52¦0¦Null§
Note on A762: ¦1¦1¦4¦53¦0¦Null§
Note on A764: ¦1¦1¦4¦54¦0¦Null§
Note on A766: ¦1¦1¦4¦55¦0¦Null§
Note on A768: ¦1¦1¦4¦56¦1¦Null§
Note on A784: ¦1¦1¦4¦57¦0¦Null§
Note on A786: ¦1¦1¦4¦58¦0¦Null§
Note on A788: ¦1¦1¦4¦59¦0¦Null§
Note on A790: ¦1¦1¦4¦60¦1¦Null§
Note on A792: ¦1¦1¦4¦61¦1¦Null§
Note on A794: ¦1¦1¦4¦62¦0¦Null§
Note on A796: ¦1¦1¦4¦63¦0¦Null§
Note on A798: ¦1¦1¦4¦64¦0¦Null§
Note on A800: ¦1¦1¦4¦65¦0¦Null§
Note on A802: ¦1¦1¦4¦66¦0¦Null§
Note on A804: ¦1¦1¦4¦67¦1¦Null§
Note on A806: ¦1¦1¦4¦68¦0¦Null§
Note on A808: ¦1¦1¦4¦69¦0¦Null§
Note on A810: ¦1¦1¦4¦70¦0¦Null§
Note on A812: ¦1¦1¦4¦71¦1¦Null§
Note on A814: ¦1¦1¦4¦72¦0¦Null§
Note on A816: ¦1¦1¦4¦73¦0¦Null§
Note on A825: ¦1¦1¦5¦1¦2¦Null§SubSection
Note on A827: ¦1¦1¦5¦2¦2¦Null§
Note on A829: ¦1¦1¦5¦3¦1¦Null§
Note on A831: ¦1¦1¦5¦4¦0¦Null§
Note on A833: ¦1¦1¦5¦5¦0¦Null§
Note on A835: ¦1¦1¦5¦6¦0¦Null§
Note on A837: ¦1¦1¦5¦7¦0¦Null§
Note on A839: ¦1¦1¦5¦8¦2¦Null§
Note on A841: ¦1¦1¦5¦9¦2¦Null§
Note on A843: ¦1¦1¦5¦10¦0¦Null§
Note on A845: ¦1¦1¦5¦11¦0¦Null§
Note on A847: ¦1¦1¦5¦12¦0¦Null§
Note on A849: ¦1¦1¦5¦13¦0¦Null§
Note on A851: ¦1¦1¦5¦14¦0¦Null§
Note on A853: ¦1¦1¦5¦15¦1¦Null§
Note on A855: ¦1¦1¦5¦16¦0¦Null§
Note on A880: ¦1¦1¦5¦17¦0¦Null§NewPage
Note on A882: ¦1¦1¦5¦18¦0¦Null§
Note on A884: ¦1¦1¦5¦19¦0¦Null§
Note on A886: ¦1¦1¦5¦20¦0¦Null§
Note on A888: ¦1¦1¦5¦21¦0¦Null§
Note on A890: ¦1¦1¦5¦22¦0¦Null§
Note on A892: ¦1¦1¦5¦23¦0¦Null§
Note on A894: ¦1¦1¦5¦24¦0¦Null§
Note on A896: ¦1¦1¦5¦25¦1¦Null§
Note on A898: ¦1¦1¦5¦26¦1¦Null§
Note on A900: ¦1¦1¦5¦27¦0¦Null§
Note on A902: ¦1¦1¦5¦28¦0¦Null§
Note on A904: ¦1¦1¦5¦29¦0¦Null§
Note on A906: ¦1¦1¦5¦30¦0¦Null§
Note on A908: ¦1¦1¦5¦31¦0¦Null§
Note on A910: ¦1¦1¦5¦32¦0¦Null§
Note on A912: ¦1¦1¦5¦33¦0¦Null§
Note on A914: ¦1¦1¦5¦34¦1¦Null§
Note on A916: ¦1¦1¦5¦35¦1¦Null§
Note on A918: ¦1¦1¦5¦36¦0¦Null§
Note on A920: ¦1¦1¦5¦37¦0¦Null§
Note on A922: ¦1¦1¦5¦38¦0¦Null§
Note on A934: ¦1¦1¦5¦39¦0¦Null§
Note on A936: ¦1¦1¦5¦40¦0¦Null§
Note on A938: ¦1¦1¦5¦41¦0¦Null§
Note on A940: ¦1¦1¦5¦42¦0¦Null§
Note on A942: ¦1¦1¦5¦43¦0¦Null§
Note on A944: ¦1¦1¦5¦44¦0¦Null§
Note on A946: ¦1¦1¦5¦45¦0¦Null§
Note on A948: ¦1¦1¦5¦46¦0¦Null§
Note on A950: ¦1¦1¦5¦47¦0¦Null§
Note on A952: ¦1¦1¦5¦48¦0¦Null§
Note on A954: ¦1¦1¦5¦49¦0¦Null§
Note on A982: ¦1¦1¦6¦1¦2¦Null§SubSection
Note on A984: ¦1¦1¦6¦2¦2¦Null§
Note on A986: ¦1¦1¦6¦3¦2¦Null§
Note on A988: ¦1¦1¦6¦4¦0¦Null§
Note on A990: ¦1¦1¦6¦5¦0¦Null§
Note on A992: ¦1¦1¦6¦6¦0¦Null§
Note on A994: ¦1¦1¦6¦7¦0¦Null§
Note on A996: ¦1¦1¦6¦8¦0¦Null§
Note on A998: ¦1¦1¦6¦9¦0¦Null§
Note on A1000: ¦1¦1¦6¦10¦0¦Null§
Note on A1002: ¦1¦1¦6¦11¦0¦Null§
Note on A1004: ¦1¦1¦6¦12¦0¦Null§
Note on A1006: ¦1¦1¦6¦13¦0¦Null§
Note on A1008: ¦1¦1¦6¦14¦0¦Null§
Note on A1010: ¦1¦1¦6¦15¦0¦Null§
Note on A1012: ¦1¦1¦6¦16¦0¦Null§
Note on A1014: ¦1¦1¦6¦17¦0¦Null§
Note on A1024: ¦1¦1¦6¦18¦0¦Null§
Note on A1027: ¦1¦1¦6¦20¦0¦Null§
Note on A1029: ¦1¦1¦6¦21¦0¦Null§
Note on A1031: ¦1¦1¦6¦22¦0¦Null§
Note on A1033: ¦1¦1¦6¦23¦0¦Null§
Note on A1035: ¦1¦1¦6¦24¦0¦Null§
Note on A1037: ¦1¦1¦6¦25¦0¦Null§
Note on A1039: ¦1¦1¦6¦26¦0¦Null§
Note on A1041: ¦1¦1¦6¦27¦1¦Null§
Note on A1043: ¦1¦1¦6¦28¦1¦Null§
Note on A1045: ¦1¦1¦6¦29¦0¦Null§
Note on A1055: ¦1¦1¦6¦30¦0¦Null§
Note on A1057: ¦1¦1¦6¦31¦0¦Null§
Note on A1059: ¦1¦1¦6¦32¦0¦Null§
Note on A1061: ¦1¦1¦6¦33¦0¦Null§
Note on A1063: ¦1¦1¦6¦34¦0¦Null§
Note on A1065: ¦1¦1¦6¦35¦0¦Null§
Note on A1067: ¦1¦1¦6¦36¦1¦Null§
Note on A1069: ¦1¦1¦6¦37¦1¦Null§
Note on A1071: ¦1¦1¦6¦38¦0¦Null§
Note on A1073: ¦1¦1¦6¦39¦0¦Null§
Note on A1075: ¦1¦1¦6¦40¦0¦Null§
Note on A1077: ¦1¦1¦6¦41¦0¦Null§
Note on A1079: ¦1¦1¦6¦42¦0¦Null§
Note on A1081: ¦1¦1¦6¦43¦0¦Null§
Note on A1107: ¦1¦1¦7¦1¦0¦Null§SubSection
Note on A1109: ¦1¦1¦7¦2¦1¦Null§
Note on A1111: ¦1¦1¦7¦3¦1¦Null§
Note on A1113: ¦1¦1¦7¦4¦0¦Null§
Note on A1115: ¦1¦1¦7¦5¦0¦Null§
Note on A1117: ¦1¦1¦7¦6¦0¦Null§
Note on A1119: ¦1¦1¦7¦7¦0¦Null§
Note on A1121: ¦1¦1¦7¦8¦0¦Null§
Note on A1123: ¦1¦1¦7¦9¦0¦Null§
Note on A1125: ¦1¦1¦7¦10¦1¦Null§
Note on A1127: ¦1¦1¦7¦11¦1¦Null§
Note on A1129: ¦1¦1¦7¦12¦0¦Null§
Note on A1131: ¦1¦1¦7¦13¦0¦Null§
Note on A1133: ¦1¦1¦7¦14¦0¦Null§
Note on A1135: ¦1¦1¦7¦15¦0¦Null§
Note on A1137: ¦1¦1¦7¦16¦0¦Null§
Note on A1139: ¦1¦1¦7¦17¦0¦Null§
Note on A1141: ¦1¦1¦7¦18¦0¦Null§
Note on A1143: ¦1¦1¦7¦19¦0¦Null§
Note on A1156: ¦1¦1¦7¦20¦0¦Null§
Note on A1158: ¦1¦1¦7¦21¦0¦Null§
Note on A1160: ¦1¦1¦7¦22¦0¦Null§
Note on A1162: ¦1¦1¦7¦23¦0¦Null§
Note on A1214: ¦1¦1¦8¦1¦0¦Null§SubSection
Note on A1216: ¦1¦1¦8¦2¦0¦Null§

## Rate Estimator
To use a free rate estimator program with this Excel file
1) | Download and install the program by clicking the link below and following instructions
Bill Project (demo mode)
2) | In MS Windows run the program using 'Start > Programs > Civilsoft > Bill Project'
3) | Once Bill Project is running use 'File > Open Excel Tender' and select this file, eg
C:\Users\jonck\Desktop\PROJECTS\MVD-PROJECTS\HPJ0056-KNC-PHASE 2\DESIGN & COSTING PHASE\TENDER DOCUMENTS\1 JULY 2024\Electrical Infrastructure\[6207 Ph2A Bldg - H Jonck 29072024.xlsx]
4) | Item rates can now be calculated by adding project resources to items
5) | For more information in Bill Project use 'Tools > Guide' and click on 'Rate Estimator'
Note:
Although Bill Project will be set to demo mode, the rate estimator will have full functionality
Once rates have been calculated in Bill Project they can be exported using 'File > Export > Rate'
If you need help with any of the above, click the link below or phone +27 (0)42 294 1777
Bill Project support